## HT3016
AlarmCode | Message
30420000 | InArm To Shuttle 1 Kit IC put error
30430001 | TestArm To Shuttle 1 Kit IC put error
30440000 | InArm To Shuttle 2 Kit IC put error
30450001 | TestArm To Shuttle 2 Kit IC put error
30460000 | InArm To Shuttle 3 Kit IC put error
30470001 | TestArm To Shuttle 3 Kit IC put error
30480000 | InArm To Shuttle 4 Kit IC put error
30490001 | TestArm To Shuttle 4 Kit IC put error
30520000 | No 1 Tester socket IC put jam
30530100 | No 2 Tester socket IC put jam
30540200 | No 3 Tester socket IC put jam
30550300 | No 4 Tester socket IC put jam
30560400 | No 5 Tester socket IC put jam
30570500 | No 6 Tester socket IC put jam
30580600 | No 7 Tester socket IC put jam
30590700 | No 8 Tester socket IC put jam
30600800 | No 9 Tester socket IC put jam
30610900 | No 10 Tester socket IC put jam
30621000 | No 11 Tester socket IC put jam
30631100 | No 12 Tester socket IC put jam
30641200 | No 13 Tester socket IC put jam
30651300 | No 14 Tester socket IC put jam
30661400 | No 15 Tester socket IC put jam
30671500 | No 16 Tester socket IC put jam
60003202 | InArmSuck1--Device Fall Down When Arm Move
60013202 | InArmSuck2--Device Fall Down When Arm Move
60023202 | InArmSuck3--Device Fall Down When Arm Move
60033202 | InArmSuck4--Device Fall Down When Arm Move
60100800 | OutArmSuck1--Pick Up Error,Shuttle1
60100900 | OutArmSuck1--Pick Up Error,Shuttle2
60101000 | OutArmSuck1--Pick Up Error,Shuttle3
60101100 | OutArmSuck1--Pick Up Error,Shuttle4
60110800 | OutArmSuck2--Pick Up Error,Shuttle1
60110900 | OutArmSuck2--Pick Up Error,Shuttle2
60111000 | OutArmSuck2--Pick Up Error,Shuttle3
60111100 | OutArmSuck2--Pick Up Error,Shuttle4
60120800 | OutArmSuck3--Pick Up Error,Shuttle1
60120900 | OutArmSuck3--Pick Up Error,Shuttle2
60121000 | OutArmSuck3--Pick Up Error,Shuttle3
60121100 | OutArmSuck3--Pick Up Error,Shuttle4
60130800 | OutArmSuck4--Pick Up Error,Shuttle1
60130900 | OutArmSuck4--Pick Up Error,Shuttle2
60131000 | OutArmSuck4--Pick Up Error,Shuttle3
60131100 | OutArmSuck4--Pick Up Error,Shuttle4
60103202 | OutArmSuck1--Device Fall Down When Arm Move
60113202 | OutArmSuck2--Device Fall Down When Arm Move
60123202 | OutArmSuck3--Device Fall Down When Arm Move
60133202 | OutArmSuck4--Device Fall Down When Arm Move
60200800 | TestArmL1Suck1--Pick Up Error,Shuttle1
60200900 | TestArmL1Suck1--Pick Up Error,Shuttle2
60201200 | TestArmL1Suck1--Pick Up Error,Plate1
60201300 | TestArmL1Suck1--Pick Up Error,Plate2
60203202 | TestArmL1Suck1--Device Fall Down When Arm Move
60211600 | TestArmL1Suck2--Pick Up Error,Socket1
60211700 | TestArmL1Suck2--Pick Up Error,Socket2
60211800 | TestArmL1Suck2--Pick Up Error,Socket3
60211900 | TestArmL1Suck2--Pick Up Error,Socket4
60212000 | TestArmL1Suck2--Pick Up Error,Socket5
60212100 | TestArmL1Suck2--Pick Up Error,Socket6
60212200 | TestArmL1Suck2--Pick Up Error,Socket7
60213202 | TestArmL1Suck2--Device Fall Down When Arm Move
60300800 | TestArmL2Suck1--Pick Up Error,Shuttle1
60300900 | TestArmL2Suck1--Pick Up Error,Shuttle2
60301200 | TestArmL2Suck1--Pick Up Error,Plate1
60301300 | TestArmL2Suck1--Pick Up Error,Plate2
60303202 | TestArmL2Suck1--Device Fall Down When Arm Move
60311700 | TestArmL2Suck2--Pick Up Error,Socket2
60311800 | TestArmL2Suck2--Pick Up Error,Socket3
60311900 | TestArmL2Suck2--Pick Up Error,Socket4
60312000 | TestArmL2Suck2--Pick Up Error,Socket5
60312100 | TestArmL2Suck2--Pick Up Error,Socket6
60312200 | TestArmL2Suck2--Pick Up Error,Socket7
60312300 | TestArmL2Suck2--Pick Up Error,Socket8
60313202 | TestArmL2Suck2--Device Fall Down When Arm Move
60401000 | TestArmR1Suck1--Pick Up Error,Shuttle3
60401100 | TestArmR1Suck1--Pick Up Error,Shuttle4
60401400 | TestArmR1Suck1--Pick Up Error,Plate3
60401500 | TestArmR1Suck1--Pick Up Error,Plate4
60403202 | TestArmR1Suck1--Device Fall Down When Arm Move
60412500 | TestArmR1Suck2--Pick Up Error,Socket10
60412600 | TestArmR1Suck2--Pick Up Error,Socket11
60412700 | TestArmR1Suck2--Pick Up Error,Socket12
60412800 | TestArmR1Suck2--Pick Up Error,Socket13
60412900 | TestArmR1Suck2--Pick Up Error,Socket14
60413000 | TestArmR1Suck2--Pick Up Error,Socket15
60413100 | TestArmR1Suck2--Pick Up Error,Socket16
60413202 | TestArmR1Suck2--Device Fall Down When Arm Move
60501000 | TestArmR2Suck1--Pick Up Error,Shuttle3
60501100 | TestArmR2Suck1--Pick Up Error,Shuttle4
60501400 | TestArmR2Suck1--Pick Up Error,Plate3
60501500 | TestArmR2Suck1--Pick Up Error,Plate4
60503202 | TestArmR2Suck1--Device Fall Down When Arm Move
60512400 | TestArmR2Suck2--Pick Up Error,Socket9
60512500 | TestArmR2Suck2--Pick Up Error,Socket10
60512600 | TestArmR2Suck2--Pick Up Error,Socket11
60512700 | TestArmR2Suck2--Pick Up Error,Socket12
60512800 | TestArmR2Suck2--Pick Up Error,Socket13
60512900 | TestArmR2Suck2--Pick Up Error,Socket14
60513000 | TestArmR2Suck2--Pick Up Error,Socket15
60513202 | TestArmR2Suck2--Device Fall Down When Arm Move
60600200 | CatchTraySuck--Pick Up Tray Jam,Loader
60600100 | CatchTraySuck--Pick Up Tray Jam,Empty2
70000005 | MEmpty1--Magazine High sensor on error
70010005 | MEmpty2--Magazine High sensor on error
70020005 | MLoader--Magazine High sensor on error
70020007 | MLoader--Magazine Low sensor not on error
70030003 | MAuto1--Can not detect tray error
70030003 | MAuto1--Can not detect tray error
70030005 | MAuto1--Magazine High sensor on error
70030011 | MAuto1--Magazine ReceiveTray High sensor on error
70040003 | MAuto2--Can not detect tray error
70040005 | MAuto2--Magazine High sensor on error
70050003 | MAuto3--Can not detect tray error
70060003 | MAuto4--Can not detect tray error

## TW154V
Jam Code | Message
AE23 | Sensor Detection Error !! Empty Tray Arm placed Tray on Auto Bin1 Conveyor, but the Tray is not being detected.
AE29 | Sensor Detection Error !! Empty Tray Arm took the Tray away from Auto Bin1 Conveyor, but the Tray is being detected.
AS16 | Sensor Detection Error !! Even the time has elapsed a lot after the Tray moved from Auto Bin 1 Conveyor, C-Tray is not being detected at Slow Sensor.
AS21 | Sensor Detection Error !! Even the time has elapsed a lot after the C-Tray moved from Auto Bin 1 Conveyor, Tray is not being detected at Check Sensor.
AE57 | Behavior of the C-Tray Clamp/Unclamp Cylinder at AutoBin 1 Conveyor is abnormal.
AE24 | Sensor Detection Error !! Empty Tray Arm placed Tray on Auto Bin2 Conveyor, but the Tray is not being detected.
AE30 | Sensor Detection Error !! Empty Tray Arm took the Tray away from Auto Bin2 Conveyor, but the Tray is being detected.
AS17 | Sensor Detection Error !! Even the time has elapsed a lot after the Tray moved from Auto Bin 2 Conveyor, C-Tray is not being detected at Slow Sensor.
AS22 | Sensor Detection Error !! Even the time has elapsed a lot after the C-Tray moved from Auto Bin 2 Conveyor, Tray is not being detected at Check Sensor.
AE58 | Behavior of the C-Tray Clamp/Unclamp Cylinder at AutoBin 2 Conveyor is abnormal.
AE25 | Sensor Detection Error !! Empty Tray Arm placed Tray on Auto Bin3 Conveyor, but the Tray is not being detected.
AE31 | Sensor Detection Error !! Empty Tray Arm took the Tray away from Auto Bin3 Conveyor, but the Tray is being detected.
AS18 | Sensor Detection Error !! Even the time has elapsed a lot after the Tray moved from Auto Bin 3 Conveyor, C-Tray is not being detected at Slow Sensor.
AS23 | Sensor Detection Error !! Even the time has elapsed a lot after the C-Tray moved from Auto Bin 3 Conveyor, Tray is not being detected at Check Sensor.
AE59 | Behavior of the C-Tray Clamp/Unclamp Cylinder at AutoBin 3 Conveyor is abnormal.
AE97 | Behavior of the C-Tray Clamp/Unclamp Cylinder at AutoBin 4 Conveyor is abnormal.
AE94 | Sensor Detection Error !! Empty Tray Arm placed Tray on Auto Bin4 Conveyor, but the Tray is not being detected.
AE95 | Sensor Detection Error !! Empty Tray Arm took the Tray away from Auto Bin4 Conveyor, but the Tray is being detected.
AS63 | Sensor Detection Error !! Even the time has elapsed a lot after the Tray moved from Auto Bin 4 Conveyor, C-Tray is not being detected at Slow Sensor.
AS64 | Sensor Detection Error !! Even the time has elapsed a lot after the C-Tray moved from Auto Bin 4 Conveyor, Tray is not being detected at Check Sensor.
AE21 | Sensor Detection Error !! Empty Tray Arm placed Tray on Empty1 Conveyor, but the Tray is not being detected.
AE27 | Sensor Detection Error !! Empty Tray Arm took the Tray away from Empty1 Conveyor, but the Tray is being detected at Empty1 Conveyor.
AS14 | Sensor Detection Error !! Even the time has elapsed a lot after the Tray moved from Empty1 Conveyor, C-Tray is not being detected at Slow Sensor.
AS19 | Sensor Detection Error !! Even the time has elapsed a lot after the C-Tray moved from Empty1 Conveyor, Tray is not being detected at Check Sensor.
AE55 | Behavior of the C-Tray Clamp/Unclamp Cylinder at Empty 1 Conveyor is abnormal.
AE22 | Sensor Detection Error !! Empty Tray Arm placed Tray on Empty2 Conveyor, but the Tray is not being detected.
AE28 | Sensor Detection Error !! Empty Tray Arm took the Tray away from Empty2 Conveyor, but the Tray is being detected at Empty1 Conveyor.
AS15 | Sensor Detection Error !! Even the time has elapsed a lot after the Tray moved from Empty2 Conveyor, C-Tray is not being detected at Slow Sensor.
AS20 | Sensor Detection Error !! Even the time has elapsed a lot after the C-Tray moved from Empty2 Conveyor, Tray is not being detected at Check Sensor.
AE56 | Behavior of the C-Tray Clamp/Unclamp Cylinder at Empty 2 Conveyor is abnormal.
FM63 | Device Pick Fail!! Index Arm failed to pick devices up at the position displayed on Shuttle.
FM72 | Sensor Detection Error!! Index Arm blowed devices at the checked position, but Vacuum Sensor is still being detected.
FM73 | Index Arm missed some devices at Test Site.
FM74 | Sensor Detection Error!! After Index Arm moved, devices are not detected at the indicated location.
FM75 | Sensor Detection Error!! Index Arm blowed devices at the displayed position, but Vacuum Sensor is still being detected.
FM76 | Sensor Detection Error!! Index Arm blowed devices at the displayed position, but Vacuum Sensor is still being detected.
FM77 | Sensor Detection Error!! Device is being detected at the displayed position of Index Arm.
FM06 | Device Pick Fail!! Index Arm1 failed to pick devices up at the position displayed on Shuttle.
FM08 | Sensor Detection Error!! Index Arm1 blowed devices at the checked position, but Vacuum Sensor is still being detected.
FM10 | Index Arm1 missed some devices at Test Site.
FM12 | Sensor Detection Error!! Index Arm1 blowed devices at the displayed position, but Vacuum Sensor is still being detected.
FM14 | Sensor Detection Error!! Device is being detected at the displayed position of Index Arm1, Please remove it.
FM78 | Sensor Detection Error!! After Index Arm Front moves, the device is not detected in the marked position.
FM84 | Sensor Detection Error!! After Index Arm Front moved, devices are not detected at the indicated location.
FC01 | (CLEANING) Device Pick Fail!! Index Arm1 failed in picking devices on Shuttle.
FS04 | (SOCKETCLEAN) Sensor Detection Error!! After Index Arm Front moved, devices were not detected at the corresponding position.
FM07 | Device Pick Fail!! Index Arm2 failed to pick devices up at the position displayed on Shuttle.
FM09 | Sensor Detection Error!! Index Arm2 blowed devices at the checked position, but Vacuum Sensor is still being detected.
FM11 | Index Arm2 missed some devices at Test Site.
FM13 | Sensor Detection Error!! Index Arm2 blowed devices at the displayed position, but Vacuum Sensor is still being detected.
FM15 | Sensor Detection Error!! Device is being detected at the displayed position of Index Arm2.
FM79 | Sensor Detection Error!! After Index Arm Rear moves, the device is not detected in the marked position.
FM85 | Sensor Detection Error!! After Index Arm Rear moved, devices are not detected at the indicated location.
FC02 | (CLEANING) Device Pick Fail!! Index Arm2 failed in picking devices on Shuttle.
FS03 | (SOCKETCLEAN) Sensor Detection Error!! After Index Arm Rear moved, devices were not detected at the corresponding position.
CC01 | Devices Blow Error!! Devices may be attatched at Input Arm or Vacuum Sensor has an error.
CC02 | Device Drop Error!! Input Arm dropped devices or an error occurs at Sensor displayed below.
CC03 | Input Arm Pick Error at Hot Plate!!
CC05 | Sensor Detection Error!! After Input Arm picks devices up from the Buffer, some of them are not being detected by Sensor.
CC07 | Buffer : Picker is the Device Release ...Still On Sensing
CC08 | Pick error occured on socket clean kit.
CC09 | In input shuttle 1, pick error of input arm occurs.
CC10 | In input shuttle 2, pick error of input arm occurs.
CC12 | Input Arm Pick Error at Hot Plate 1!!
CC11 | Input Arm Pick Error at Hot Plate 2!!
CM80 | There is a mismatch between Pick Data and Device data in Input Arm.
CM81 | Input Arm placed a device, but unchecked device is being detected.
CC20 | (CLEANING) Device Drop Error!! Input Arm dropped devices while it was moving them to Hotplate, or the sensor shown below has a problem.
CC21 | (CLEANING) Device Blow Error!! Devices on Hotplate have stuck to Input Arm, or Vacuum Sensor has a problem.
CC22 | (CLEANING) Input Arm Pick Error occurred on Hot Plate 1!!
CC23 | (CLEANING) Input Arm Pick Error occurred on Hot Plate 2!!
CC24 | (CLEANING) Input Arm Pick Error occurred on Hotplate!!
CC25 | (CLEANING) Device Drop Error!! Input Arm dropped devices while it was moving them to Shuttle Rear, or the sensor shown below has a problem.
CC26 | (CLEANING) Device Drop Error!! Input Arm dropped devices while it was moving them to Shuttle Front, or the sensor shown below has a problem.
CC27 | (CLEANING) Device Drop Error!! Input Arm dropped devices while it was moving them to Cleaning Kit, or the sensor shown below has a problem.
CC28 | (CLEANING) Device Blow Error!! Devices have stuck to Cleaning kit, or Vacuum Sensor has a problem.
CC29 | (CLEANING) Input Arm Pick Error occurred on In Shuttle 1!!
CC30 | (CLEANING) Input Arm Pick Error occurred on In Shuttle 2!!
AE20 | Sensor Detection Error !! Empty Tray Arm placed Tray on Loader Conveyor, but the Tray is not being detected .
AE26 | Sensor Detection Error !! Empty Tray Arm took the Tray away from Loader Conveyor, but the Tray is being detected at Loader Conveyor.
AS03 | Sensor Detection Error !! Even the time has elapsed a lot after the Tray moved from Loader Conveyor, C-Tray is not being detected at Slow Sensor.
AS04 | Sensor Detection Error !! Even the time has elapsed a lot after the C-Tray moved from Loader Conveyor, Tray is not being detected at Check Sensor.
AE54 | Behavior of the C-Tray Clamp/Unclamp Cylinder at Loader Conveyor is abnormal.
HC01 | Devices Blow Error!! Devices may be attatched at Output Arm or Vacuum Sensor has an error.
HC02 | Device Drop Error!! Output Arm dropped devices or an error occurs at Sensor displayed below.
HC03 | Output Arm Pick Error at Output Shuttle 2!!
HC04 | Output Arm Pick Error at Output Shuttle 1!!
HM85 | There is a mismatch between Pick Data and Device data in Output Arm.
HM86 | Output Arm placed a device, but unchecked device is being detected.
HC07 | Output Arm Pick Error at Fix Bin 3!!
EE05 | Device is arrived unsafely. Devices are not placed properly at Input Shuttle 1.
EE16 | Device is arrived unsafely. Devices are not placed properly at Output Shuttle 1.
EE18 | No devices!! There is no device at %s of Input Shuttle 1.
EE23 | Device is arrived unsafely. Input Shuttle 1 The safety arrival sensor is sensing.
EE24 | Device is arrived unsafely. The safety arrival sensor at Output Shuttle 1 is sensing.
ES01 | No Device!! There is no device in the pocket of Input Shuttle Front.
ES04 | Device is arrived unsafely. Input Shuttle Front The safety arrival sensor is sensing.
ES05 | Device is arrived unsafely. Output Shuttle Front The safety arrival sensor is sensing.
ES10 | (SOCKET CLEANING) Device is arrived unsafely. Input Shuttle Front Arrival Sensor detected the status.
ES14 | [After](SOCKET CLEANING) Device is arrived unsafely. Input Shuttle Front Arrival Sensor detected the status.
EE03 | Device is arrived unsafely. Devices are not placed properly at Input Shuttle 2.
EE04 | Device is arrived unsafely. Devices are not placed properly at Output Shuttle 2.
EE17 | No devices!! There is no device at %s of Input Shuttle 2.
EE25 | Device is arrived unsafely. The safety arrival sensor at Input Shuttle 2 is sensing.
EE26 | Device is arrived unsafely. The safety arrival sensor at Output Shuttle 2 is sensing.
ES00 | No Device!! There is no device in the pocket of Input Shuttle Rear.
ES06 | Device is arrived unsafely. Input Shuttle Rear The safety arrival sensor is sensing.
ES07 | Device is arrived unsafely. Output Shuttle Rear The safety arrival sensor is sensing.
ES11 | (SOCKET CLEANING) Device is arrived unsafely. Input Shuttle Rear Arrival Sensor detected the status.
ES15 | [After](SOCKET CLEANING) Device is arrived unsafely. Input Shuttle Rear Arrival Sensor detected the status.
BE01 | Sensor Detection Error!! Tray is not being detected at Empty Tray Arm.

## TW421
JamCode | Message
Load Tray PP vacuum sensor error.
5002 | Unload Tray PP vacuum sensor error.
5003 | Load Tray PP Vacuum Sensor has not detected in time.
5004 | Unload Tray PP Vacuum Sensor has not detected in time.
5023 | Device has not detected. Check the Device data and hand's actual device.[Load Tray PP]
5024 | Device has not detected. Check the Device data and hand's actual device.[Unload Tray PP]
5032 | Unload Tray PP has failed to pick the Device.
5033 | Load Tray PP has failed to place the Device.
5034 | Unload Tray PP has failed to place the Device.
6001 | Load Table 1 Y axis motor operation has not finished (Axis Done Failed)
6002 | Load Table 2 Y axis motor operation has not finished (Axis Done Failed)
6003 | Load Table 3 Y axis motor operation has not finished (Axis Done Failed)
6004 | Load Table 4 Y axis motor operation has not finished (Axis Done Failed)
6005 | Load Table 1 Rotate Axis motor operation has not finished (Axis Done Failed)
6006 | Load Table 2 Rotate Axis motor operation has not finished (Axis Done Failed)
6007 | Load Table 3 Rotate Axis motor operation has not finished (Axis Done Failed)
6008 | Load Table 4 Rotate Axis motor operation has not finished (Axis Done Failed)
6009 | Load Table 1 Motor moving has not completed in time (Axis Done failed)
6010 | Load Table 2 Motor moving has not completed in time (Axis Done failed)
6011 | Load Table 3 Motor moving has not completed in time (Axis Done failed)
6012 | Load Table 4 Motor moving has not completed in time (Axis Done failed)
6013 | Load Table 1 motor cannot able to operate.
6014 | Load Table 2 motor cannot able to operate.
6015 | Load Table 3 motor cannot able to operate.
6016 | Load Table 4 motor cannot able to operate.
6025 | Load Table 1 settling detection sensor error.
6026 | Load Table 2 settling detection sensor error.
6027 | Load Table 3 settling detection sensor error.
6028 | Load Table 4 settling detection sensor error.
7001 | Test PP 1 Load Hand Vacuum sensor error.
7002 | Test PP 2 Load Hand Vacuum sensor error.
7003 | Test PP 1 Unload Hand Vacuum sensor error.
7004 | Test PP 2 Unload Hand Vacuum sensor error.
7023 | Test PP 1 motor origin operation has not completed in time.
7024 | Test PP 2 motor origin operation has not completed in time.
7025 | Test PP 1 motor operations has not completed. (Axis Done failed)
7026 | Test PP 2 motor operations has not completed. (Axis Done failed)
7027 | Test PP 1 motor operation has not completed in time.
7028 | Test PP 2 motor operation has not completed in time.
7033 | Test PP 1 Load Hand Picker operation has not completed in time.
7034 | Test PP 2 Load Hand Picker operation has not completed in time.
7035 | Test PP 1 Unload Hand Picker operation has not completed in time.
7036 | Test PP 2 Unload Hand Picker operation has not completed in time.
7039 | Device information and Data of Test PP 1 Load Hand are not matching.
7040 | Device information and Data of Test PP 2 Load Hand are not matching.
7041 | Device information and Data of Test PP 1 Unload Hand are not matching.
7042 | Device information and Data of Test PP 2 Unload Hand are not matching.
7043 | Device information and Device status of Test PP 1 Load Hand are not matching.
7044 | Device information and Device status of Test PP 2 Load Hand are not matching.
7045 | Device information and Device status of Test PP 1 Unload Hand are not matching.
7046 | Device information and Device status of Test PP 2 Unload Hand are not matching.
7079 | Test PP 1 Load Hand pick has failed.
7080 | Test PP 2 Load Hand pick has failed.
7081 | Test PP 1 Unload Hand pick has failed.
7082 | Test PP 2 Unload Hand pick has failed.
7083 | Test PP 1 Load Hand place has failed.
7084 | Test PP 2 Load Hand place has failed.
7085 | Test PP 1 Unload Hand place has failed.
7086 | Test PP 2 Unload Hand place has failed.
7089 | Buffer Table #1 settling detection sensor error.
7090 | Buffer Table #2 settling detection sensor error.
7095 | Station's device settling is abnormal before perform the Test PP 1 Pick motion. Please check.
7096 | Station's device settling is abnormal before perform the Test PP 2 Pick motion. Please check.
7097 | Station's device settling is abnormal after perform the Test PP 1 Place motion. Please check.
7098 | Station's device settling is abnormal after perform the Test PP 2 Place motion. Please check.
7099 | Test PP 1 LoadTable pick has failed.[Load Hand]
7100 | Test PP 2 LoadTable pick has failed.[Load Hand]
7101 | Test PP 1 LoadTable pick has failed.[Unload Hand]
7102 | Test PP 2 LoadTable pick has failed.[Unload Hand]
8041 | Before perform the Contact, Station 1 device settling is abnormal. Please check.
8042 | Before perform the Contact, Station 2 device settling is abnormal. Please check.
8043 | Before perform the Contact, Station 3 device settling is abnormal. Please check.
8044 | Before perform the Contact, Station 4 device settling is abnormal. Please check.
8045 | Before perform the Contact, Station 5 device settling is abnormal. Please check.
8046 | Before perform the Contact, Station 6 device settling is abnormal. Please check.
8047 | Before perform the Contact, Station 7 device settling is abnormal. Please check.
8048 | Before perform the Contact, Station 8 device settling is abnormal. Please check.
8053 | After perform the safety operation, Station 1 device settling is abnormal. Please check.
8054 | After perform the safety operation, Station 2 device settling is abnormal. Please check.
8055 | After perform the safety operation, Station 3 device settling is abnormal. Please check.
8056 | After perform the safety operation, Station 4 device settling is abnormal. Please check.
8057 | After perform the safety operation, Station 5 device settling is abnormal. Please check.
8058 | After perform the safety operation, Station 6 device settling is abnormal. Please check.
8059 | After perform the safety operation, Station 7 device settling is abnormal. Please check.
8060 | After perform the safety operation, Station 8 device settling is abnormal. Please check.
8061 | Station1 Z-axis is not a safety position.
8062 | Station2 Z-axis is not a safety position.
8063 | Station3 Z-axis is not a safety position.
8064 | Station4 Z-axis is not a safety position.
8065 | Station5 Z-axis is not a safety position.
8066 | Station6 Z-axis is not a safety position.
8067 | Station7 Z-axis is not a safety position.
8068 | Station8 Z-axis is not a safety position.

## HT-3016S+
JamCode | Message
5001 | Load Tray PP vacuum sensor error.
5002 | Unload Tray PP vacuum sensor error.
5003 | Load Tray PP Vacuum Sensor has not detected in time.
5004 | Unload Tray PP Vacuum Sensor has not detected in time.
5023 | Device has not detected. Check the Device data and hand's actual device.[Load Tray PP]
5024 | Device has not detected. Check the Device data and hand's actual device.[Unload Tray PP]
5032 | Unload Tray PP has failed to pick the Device.
5033 | Load Tray PP has failed to place the Device.
5034 | Unload Tray PP has failed to place the Device.
6001 | Load Table 1 Y axis motor operation has not finished (Axis Done Failed)
6002 | Load Table 2 Y axis motor operation has not finished (Axis Done Failed)
6003 | Load Table 3 Y axis motor operation has not finished (Axis Done Failed)
6004 | Load Table 4 Y axis motor operation has not finished (Axis Done Failed)
6005 | Load Table 1 Rotate Axis motor operation has not finished (Axis Done Failed)
6006 | Load Table 2 Rotate Axis motor operation has not finished (Axis Done Failed)
6007 | Load Table 3 Rotate Axis motor operation has not finished (Axis Done Failed)
6008 | Load Table 4 Rotate Axis motor operation has not finished (Axis Done Failed)
6009 | Load Table 1 Motor moving has not completed in time (Axis Done failed)
6010 | Load Table 2 Motor moving has not completed in time (Axis Done failed)
6011 | Load Table 3 Motor moving has not completed in time (Axis Done failed)
6012 | Load Table 4 Motor moving has not completed in time (Axis Done failed)
6013 | Load Table 1 motor cannot able to operate.
6014 | Load Table 2 motor cannot able to operate.
6015 | Load Table 3 motor cannot able to operate.
6016 | Load Table 4 motor cannot able to operate.
6025 | Load Table 1 settling detection sensor error.
6026 | Load Table 2 settling detection sensor error.
6027 | Load Table 3 settling detection sensor error.
6028 | Load Table 4 settling detection sensor error.
7001 | Test PP 1 Load Hand Vacuum sensor error.
7002 | Test PP 2 Load Hand Vacuum sensor error.
7003 | Test PP 1 Unload Hand Vacuum sensor error.
7004 | Test PP 2 Unload Hand Vacuum sensor error.
7023 | Test PP 1 motor origin operation has not completed in time.
7024 | Test PP 2 motor origin operation has not completed in time.
7025 | Test PP 1 motor operations has not completed. (Axis Done failed)
7026 | Test PP 2 motor operations has not completed. (Axis Done failed)
7027 | Test PP 1 motor operation has not completed in time.
7028 | Test PP 2 motor operation has not completed in time.
7033 | Test PP 1 Load Hand Picker operation has not completed in time.
7034 | Test PP 2 Load Hand Picker operation has not completed in time.
7035 | Test PP 1 Unload Hand Picker operation has not completed in time.
7036 | Test PP 2 Unload Hand Picker operation has not completed in time.
7039 | Device information and Data of Test PP 1 Load Hand are not matching.
7040 | Device information and Data of Test PP 2 Load Hand are not matching.
7041 | Device information and Data of Test PP 1 Unload Hand are not matching.
7042 | Device information and Data of Test PP 2 Unload Hand are not matching.
7043 | Device information and Device status of Test PP 1 Load Hand are not matching.
7044 | Device information and Device status of Test PP 2 Load Hand are not matching.
7045 | Device information and Device status of Test PP 1 Unload Hand are not matching.
7046 | Device information and Device status of Test PP 2 Unload Hand are not matching.
7079 | Test PP 1 Load Hand pick has failed.
7080 | Test PP 2 Load Hand pick has failed.
7081 | Test PP 1 Unload Hand pick has failed.
7082 | Test PP 2 Unload Hand pick has failed.
7083 | Test PP 1 Load Hand place has failed.
7084 | Test PP 2 Load Hand place has failed.
7085 | Test PP 1 Unload Hand place has failed.
7086 | Test PP 2 Unload Hand place has failed.
7089 | Buffer Table #1 settling detection sensor error.
7090 | Buffer Table #2 settling detection sensor error.
7095 | Station's device settling is abnormal before perform the Test PP 1 Pick motion. Please check.
7096 | Station's device settling is abnormal before perform the Test PP 2 Pick motion. Please check.
7097 | Station's device settling is abnormal after perform the Test PP 1 Place motion. Please check.
7098 | Station's device settling is abnormal after perform the Test PP 2 Place motion. Please check.
7099 | Test PP 1 LoadTable pick has failed.[Load Hand]
7100 | Test PP 2 LoadTable pick has failed.[Load Hand]
7101 | Test PP 1 LoadTable pick has failed.[Unload Hand]
7102 | Test PP 2 LoadTable pick has failed.[Unload Hand]
8041 | Before perform the Contact, Station 1 device settling is abnormal. Please check.
8042 | Before perform the Contact, Station 2 device settling is abnormal. Please check.
8043 | Before perform the Contact, Station 3 device settling is abnormal. Please check.
8044 | Before perform the Contact, Station 4 device settling is abnormal. Please check.
8045 | Before perform the Contact, Station 5 device settling is abnormal. Please check.
8046 | Before perform the Contact, Station 6 device settling is abnormal. Please check.
8047 | Before perform the Contact, Station 7 device settling is abnormal. Please check.
8048 | Before perform the Contact, Station 8 device settling is abnormal. Please check.
8053 | After perform the safety operation, Station 1 device settling is abnormal. Please check.
8054 | After perform the safety operation, Station 2 device settling is abnormal. Please check.
8055 | After perform the safety operation, Station 3 device settling is abnormal. Please check.
8056 | After perform the safety operation, Station 4 device settling is abnormal. Please check.
8057 | After perform the safety operation, Station 5 device settling is abnormal. Please check.
8058 | After perform the safety operation, Station 6 device settling is abnormal. Please check.
8059 | After perform the safety operation, Station 7 device settling is abnormal. Please check.
8060 | After perform the safety operation, Station 8 device settling is abnormal. Please check.
8061 | Station1 Z-axis is not a safety position.
8062 | Station2 Z-axis is not a safety position.
8063 | Station3 Z-axis is not a safety position.
8064 | Station4 Z-axis is not a safety position.
8065 | Station5 Z-axis is not a safety position.
8066 | Station6 Z-axis is not a safety position.
8067 | Station7 Z-axis is not a safety position.
8068 | Station8 Z-axis is not a safety position.